Supporting notes in respect of ARC3 Condition attached to 12/01592/FUL Change of use from house to bunk house at The Poorhouse, Strathtongue, Tongue.

Highland HER - MHG52754

The Red Tin House (Poor House)  If you view the property on Google Streetview the roof is red!

It should be noted that no alterations to the core of the building will be made during this development.

- Built circa 1897

- Previously owned by Sutherland Estates

- Generally wind and water tight.

- Concrete base

- External walls and roof are of corrugated iron

- Internal walls & ceilings (probably original!) Oak tongue & groove.  Almost every inch has been painted with various colours over the years.  Some had been prepared with a skimming of plaster/filler before being covered with wallpaper and finally painted.  Every room shows evidence of woodworm infestation.

Some more recent walls are plaster board stud

- 2 x twin (back-to-back), stone chimney stacks (4 fire grates)

All four chimney pots have been removed and the chimneys had been sealed over.  Three of the four fireplaces  had been bricked or boarded up, plastered and painted.  All of the stonework was suffering from heavy damp.  Where plasterboard had been placed around the chimney breasts, this too was wet with damp.

- There is evidence that the 2 doors are not in the original positions.  See photo SE Elevation.jpg for details.

- The photographs were taken during March/April and October 2012.

- Window photos are numbered in a clockwise direction starting at the E corner.

- Transcript of the pencil inscription:

Betty Mackay
on 22
March 198

???shall died on
the 18th of March 1913
aged 82

Miss Mary Mackay

Roy Slaughter - 09 October 2012 (all photos were taken by Roy Slaughter)