Photographic Record of Building

Planning Ref 17/01935/FUL       Change of use from Factory to Heritage Centre, Erection of Extension

Site Address: - Former School & Plastics Factory Sinclair Street Thurso KW12 6XP

Photographic record of internal rooms and external views of existing building before alterations to building by forming openings for vehicle exhibit access and the erection of exhibit extension

The position of Photo’s listed are shown on the attached drawing 397/HH/PR.

| Photo no | Photo ref | Description |
| --- | --- | --- |
| 1 | 1000454 | Internal view of exterior wall Workshop 2 (north wall) Form opening 3m wide for vehicle exhibit access via link building |
| 2 | 1000455 | Internal view of exterior wall Workshop 2 (south wall) Form opening 3m wide for vehicle exhibit access Floor to be replaced with concrete to support exhibit vehicles |
| 3 | 1000456 | Internal view of exterior wall Workshop 1 (north wall) Form opening 3m wide for vehicle exhibit access |
| 4 | 1000458 | Internal view of Workshop 1 Floor to be replaced with concrete floor to support exhibit vehicles |
| 5 | 1000460 | External view of room 3 West elevation New building will restrict the view of this elevation Toilet block to be removed |
| 6 | 1000461 | External view of room 3 West elevation New building will restrict the view of this elevation Toilet block to be removed |
| 7 | 1000462 | External view of North elevation of Workshop 2 Opening formed for vehicle access and new building will link to this elevation, Toilet block to be removed |
| 8 | 1000463 | Toilet extension to be demolished door opening to be built up and walls made good. |
| 9 | 1000464 | West gable of store to be removed and rebuilt 1.2m back to allow for new extension building |
| 10 | 1000465 | East elevation of school extension building (no change to this elevation) |
| 11 | 1000466 | East elevation store area door removed and fit window and form new emergency escape door |
| 12 | 1000471 | East elevation of school building |
| 13 | 1000472 | East elevation of school building entrance from existing car park area (no change to this elevation) |
| 14 | 1000473 | North facing wall adjacent to existing car park area (no change to this elevation) |
| 15 | 1000475 | Existing south elevation new door to be fitted with glazed panel over to form new main entrance door to building |
| 16 | 1000476 | Existing South elevation to large class room (no change to this elevation) |
| 17 | 1000477 | Adjoining School house not part of this planning application but forms part of the south elevation of the building |
| 18 | 1000479 | East Gable of main school building (no change to this elevation) |